## Sheet1
title | description
distribution system operator | natural or legal person responsible for operating, ensuring the maintenance of and, if necessary, developing the distribution system in a given area and, where applicable, its interconnections with other systems and for ensuring the long term ability of the system to meet reasonable demands for the distribution of electricity
DSO | natural or legal person responsible for operating, ensuring the maintenance of and, if necessary, developing the distribution system in a given area and, where applicable, its interconnections with other systems and for ensuring the long term ability of the system to meet reasonable demands for the distribution of electricity
skirstomųjų tinklų operatorius | asmuo, nuosavybės teise ar kitais teisėtais pagrindais valdantis skirstomuosius tinklus, esančius jo veiklos licencijoje nurodytoje teritorijoje, teisės aktų nustatyta tvarka užtikrinantis skirstomųjų tinklų eksploatavimą, plėtrą ir techninę priežiūrą, atsakingas už tai, kad būtų užtikrintas ilgalaikis sistemos pajėgumas pagrįstiems elektros energijos skirstymo poreikiams tenkinti, ir turintis atitinkamą veiklos licenciją
STO | asmuo, nuosavybės teise ar kitais teisėtais pagrindais valdantis skirstomuosius tinklus, esančius jo veiklos licencijoje nurodytoje teritorijoje, teisės aktų nustatyta tvarka užtikrinantis skirstomųjų tinklų eksploatavimą, plėtrą ir techninę priežiūrą, atsakingas už tai, kad būtų užtikrintas ilgalaikis sistemos pajėgumas pagrįstiems elektros energijos skirstymo poreikiams tenkinti, ir turintis atitinkamą veiklos licenciją
on-load tap changer | device designed to change <I>tap</I> [ IATE:1374127 ] position on a <I>winding</I> [ IATE:1732168 ] and hence vary the turns ratio of a transformer whilst it is both energized and on load, i.e. without any interruption of the supply
OLTC | device designed to change <I>tap</I> [ IATE:1374127 ] position on a <I>winding</I> [ IATE:1732168 ] and hence vary the turns ratio of a transformer whilst it is both energized and on load, i.e. without any interruption of the supply
load tap changer | device designed to change <I>tap</I> [ IATE:1374127 ] position on a <I>winding</I> [ IATE:1732168 ] and hence vary the turns ratio of a transformer whilst it is both energized and on load, i.e. without any interruption of the supply
LTC | device designed to change <I>tap</I> [ IATE:1374127 ] position on a <I>winding</I> [ IATE:1732168 ] and hence vary the turns ratio of a transformer whilst it is both energized and on load, i.e. without any interruption of the supply
atšakų perjungiklis | atšakų kiekio keitimo įtaisas, kuriuo nenutraukiant elektros tiekimo keičiamas transformacijos faktorius ir apkrova
steady-state stability | ability of an electric power system, for a given initial operating condition, to regain a state of operating equilibrium after being subjected to a physical disturbance, with most system variables bounded, so that practically the entire system remains intact
statinis stabilumas | elektros mašinos ar įrenginio savybė grįžti į stabilaus darbo arba stabilaus veikimo būseną po to, kai nedideli trikdžiai tą būseną pažeidžia
generation schedule | schedule representing the generation of electricity of a power generating module or a group of power generating modules
apkrovimo grafikas | elektros energijos gamybos modulio arba grupės galios laikinio kitimo grafikas
forced outage | shutdown condition of a power station, transmission line or distribution line when the generating unit is unavailable to produce power due to unexpected breakdown
priverstinis atjungimas | staigus elektros tiekimo nutraukimas dėl normalaus visos sistemos arba jos komponentų darbo pažaidos
steady state | operating conditions of a power system in which the system state variables are considered to be sensibly constant
nusistovėjęs režimas | sistemos būsena pasibaigus pereinamajam vyksmui
tap | connection made at some intermediate point in a <I>winding</I> [ IATE:1732168 ]
atšaka | jungtis tam tikroje apvijos vietoje
power electronics | study of electronic circuits and systems applied to the conversion and control of <i>electric power</i><sup>1</sup><HR> <sup>1</sup> electric power [ IATE:1697301 ]
galios elektronika | elektronikos šaka, kuri nagrinėja elektros energijos srauto ir įvairių energijos keitimo procesų valdymą elektroninėmis priemonėmis
phase-to-phase voltage | voltage between conducting transmission lines
line-to-line voltage | voltage between conducting transmission lines
linijinė įtampa | įtampa tarp daugiafazės sistemos fazinių laidininkų
pumped storage | means of hydroelectric power generation in which water is raised using pumps and stored, to be used later for the generation of electrical energy
pump storage | means of hydroelectric power generation in which water is raised using pumps and stored, to be used later for the generation of electrical energy
hidroakumuliacija | energijos kaupimo būdas, kai vanduo naudojant elektrą kaupiamas viršutiniame rezervuare ir, kai reikia, leidžiamas į apatinį rezervuarą ir jo kritimo energija verčiama elektros energija
speed governor | device which adjusts the intake valves of a turbine<sup>1</sup> in order to maintain the speed of rotation at a required value <HR><sup>1</sup> turbine [ IATE:3517886 ]
speed regulator | device which adjusts the intake valves of a turbine<sup>1</sup> in order to maintain the speed of rotation at a required value <HR><sup>1</sup> turbine [ IATE:3517886 ]
speed controller | device which adjusts the intake valves of a turbine<sup>1</sup> in order to maintain the speed of rotation at a required value <HR><sup>1</sup> turbine [ IATE:3517886 ]
sukimosi greičio reguliatorius | turbinos reguliatorius sukimosi greičiui keisti arba nustatytai vertei palaikyti
droop | ratio of the <I>steady state</I> change of frequency (in relation to <I>nominal frequency</I>) to the steady state change in <I>power</I> output (in relation to maximum capacity)
speed regulation | ratio of the <I>steady state</I> change of frequency (in relation to <I>nominal frequency</I>) to the steady state change in <I>power</I> output (in relation to maximum capacity)
statizmas | nusistovėjusio dažnio pokyčio santykis su su nusistovėjusiu atiduodamos galios pokyčiu
distribution network | electrical network, including <I>closed distribution networks</I> [ IATE:3552910 ], for the distribution of electrical power from and to third partys connected to it, to a <I>transmission network</I> [ IATE:1407047 ] or another distribution network
distribution system | electrical network, including <I>closed distribution networks</I> [ IATE:3552910 ], for the distribution of electrical power from and to third partys connected to it, to a <I>transmission network</I> [ IATE:1407047 ] or another distribution network
skirstomasis tinklas | elektros tinklas, įskaitant uždarąjį skirstomąjį tinklą, kuriuo elektros energija nukreipiama į trečiųjų šalių tinklus, į kitą perdavimo ar skirstomąjį tinklą
system frequency | number of complete cycles per second in alternating current direction in an electrical power system
elektros sistemos dažnis | elektros tinklo srovės ciklų skaičius per sekundę
excitation system | equipment providing the <I>field current</I><sup>1</sup> of a machine, including all regulating and control elements, as well as field discharge or suppression equipment and protective devices<HR><sup>1</sup> <I>field current</I> [ IATE:1653275 ]
žadinimo sistema | elektros įrenginių ir įtaisų sistema elektros mašinos žadinimo srautui kurti
setpoint | target value for any parameter typically used in control schemes
nuostatis | dydžio vertės parinkimas
alternator | device for converting mechanical energy into <I>alternating current</I><sup>1</sup> electrical energy<HR><sup>1</sup> alternating current [ IATE:1372745 ]
AC generator | device for converting mechanical energy into <I>alternating current</I><sup>1</sup> electrical energy<HR><sup>1</sup> alternating current [ IATE:1372745 ]
alternating current generator | device for converting mechanical energy into <I>alternating current</I><sup>1</sup> electrical energy<HR><sup>1</sup> alternating current [ IATE:1372745 ]
kintamosios srovės generatorius | generatorius, kuriantis kintamąją elektros srovę
field current | current supplied to the <i>field windings</i><sup>1</sup> of a generator, motor or transformer to establish the magnetic field for its operation<hr><sup>1</sup> field winding [ IATE:1605646 ]
excitation current | current supplied to the <i>field windings</i><sup>1</sup> of a generator, motor or transformer to establish the magnetic field for its operation<hr><sup>1</sup> field winding [ IATE:1605646 ]
magnetising current | current supplied to the <i>field windings</i><sup>1</sup> of a generator, motor or transformer to establish the magnetic field for its operation<hr><sup>1</sup> field winding [ IATE:1605646 ]
žadinimo srovė | nuolatinė srovė, kuri teka žadinimo apvija ir sužadina nuolatinį magnetinį lauką
demand | rate at which electric power is delivered to or by a system or part of a system at a given instant or averaged over any designated interval of time
electric demand | rate at which electric power is delivered to or by a system or part of a system at a given instant or averaged over any designated interval of time
elektros poreikis | apkrovos galios vidurkis per tam tikrą laiko tarpą
elektros energijos paklausa | apkrovos galios vidurkis per tam tikrą laiko tarpą
coil | assembly of turns forming an electrical circuit associated with one of the voltages assigned to the transformer
transformer winding | assembly of turns forming an electrical circuit associated with one of the voltages assigned to the transformer
winding | assembly of turns forming an electrical circuit associated with one of the voltages assigned to the transformer
transformatoriaus apvija | viena iš transformatoriaus pirminės arba antrinės grandinės apvijų
capacity allocation | attribution of cross zonal capacity
allocation | attribution of cross zonal capacity
pralaidumų galių paskirstymas | pralaidumų priskyrimas tarpzoniniams mainams
demand side response | modification in the demand of electricity users in response to changes in the balance between supply and demand
demand response | modification in the demand of electricity users in response to changes in the balance between supply and demand
load response | modification in the demand of electricity users in response to changes in the balance between supply and demand
DSR | modification in the demand of electricity users in response to changes in the balance between supply and demand
vartotojo reakcija | elektros vartotojų poreikio keitimas atsižvelgiant į gamybos ir poreikio balansą
reagavimas į paklausą | elektros vartotojų poreikio keitimas atsižvelgiant į gamybos ir poreikio balansą
physical congestion | situation where the level of demand for actual deliveries exceeds the technical capacity at some point in time
fizinė perkrova | tinklo padėtis, kai dėl numatytų ar realizuotų elektros energijos srautų pažeidžiamos tinklo elementų temperatūros ribos, elektros energijos sistemos įtampos stabilumo arba kampo stabilumo ribos
bidding zone | largest geographical area within which market participants are able to exchange energy without capacity allocation
prekybos zona | didžiausia geografinė zona, kurioje rinkos dalyviai gali vykdyti energijos mainus be tinklų pralaidumo galių paskirstymo
coordinated net transmission capacity | cross zonal capacity or a capacity calculation method based on the principle of assessing and defining ex-ante a maximum energy exchange between adjacent bidding zones
koordinuotas grynasis pralaidumas | pralaidumo skaičiavimo metodas, grindžiamas didžiausių energijos mainų tarp gretimų prekybos zonų „ex-ante“ vertinimo ir nustatymo principu
control area | part of the interconnected electricity transmission system controlled by a single transmission system operator
kontrolės sritis | integrali sujungtos elektros energetikos sistemos dalis, kurią eksploatuoja vienas sistemos operatorius ir kuri apima prijungtas fizines apkrovas ir (arba) elektros energijos generavimo šaltinius, jei tokių yra
critical network element | network element either within a bidding zone or between bidding zones taken into account in the capacity calculation process, limiting the amount of power that be exchanged in order to maintain the system security
kritinis tinklo elementas | tinklo elementas prekybos zonoje arba tarp prekybos zonų, į kurį atsižvelgiama apskaičiuojant pralaidumą, ir kuris riboja energijos, kuria galima apsikeisti, kiekį
countertrading | cross-zonal exchange initiated by system operators between two bidding zones to relieve physical congestion
kompensacinė prekyba | mainai tarp zonų, kuriuos iniciuoja sistemos operatoriai tarp dviejų prekybos zonų siekdami likviduoti fizinę tinklų perkrovą
flow based parameters | available margins on critical network elements with associated power transfer distribution factors
srautiniai parametrai | esminių tinklo elementų ribos ir su jomis susiję elektros energijos perdavimo pasiskirstymo tinkluose veiksniai
redispatching | measure activated by one or several system operators by altering the generation and/or load pattern in order to change physical flows in the transmission system and relieve a physical congestion
apkrovų perskirstymas | priemonė, kurią aktyvuoja vienas arba keli sistemos operatoriai, pakeisdami generavimo ir (arba) apkrovos modelį, siekdami pakeisti fizinius srautus perdavimo sistemoje ir likviduoti fizinę tinklų perkrovą
aggregated netted external schedule | schedule representing the netted aggregation of all external TSO schedules and external commercial trade schedules between two scheduling areas or between a scheduling area and a group of other scheduling areas
bendrasis įskaitytasis išorinis planas | komercinių pirkimų pagrindu sudarytas galios srautų planas, į kurį įtraukti visi dviejų ar daugiau planuojamų zonų išoriniai PSO ir sandorių planai
availability plan | combination of all planned availability statuses for a relevant asset for a given time period
parengties planas | pasirinkto įrenginio prieinamumo būklės derinys nurodytam laikotarpiui
availability status | capability for a given time period of a power generating module, grid element, demand facility, or another facility to provide service, whether or not it is in operation
parengties būklė | elektros energijos gamybos modulio, tinklo elemento, apkrovos įrenginio ar kito įrenginio geba tam tikru metu įsijungti ar veikti, nepriklausomai nuo to, ar jis tuo metu veikia, ar ne
capacity calculation region | geographic area in which coordinated capacity calculation is applied
pralaidumo skaičiavimo regionas | geografinė teritorija, kurioje taikomas koordinuotas pralaidumo skaičiavimas
capacity management module | module for the intraday capacity calculation system containing up to date available cross zonal capacity in real time for allocating cross zonal capacity
pralaidumo valdymo modulis | sistema, kurioje yra naujausia informacija apie turimą tarpzoninį pralaidumą, pagal kurią galima paskirstyti einamosios paros tarpzoninį pralaidumą
central counter party | role of entering into contracts with market participants, by novation of the contracts resulting from the <i>matching</I> process [ IATE:3552628 ] and of organizing the transfer of <i>net positions</I> [ IATE:3552632 ] resulting from <I>capacity allocation</I> [ IATE:2112865 ] with other central counter parties or <I>shipping agents</I> [ IATE:3552668 ]
pagrindinė sandorio šalis | subjektas arba subjektai, kurių užduotis – sudaryti sutartis su rinkos dalyviais ir jomis pakeisti baigus derinimo procesą sudarytas sutartis (novacijos būdu), taip pat kartu su kitomis pagrindinėmis sandorio šalimis arba ekspeditoriais organizuoti grynųjų pozicijų, gautų paskirsčius pralaidumą, perkėlimą
close to real-time | time delay between last intraday gate closure and real time, no later than fifteen minutes before real time
beveik realusis laikas | laiko delsa tarp paskutinės dienos prekybos valandos uždarymo ir realiojo laiko, ne vėliau nei penkiolika minučių iki realiojo laiko
common grid model | Europe-wide or multiple-TSO (transmission system operator)-wide data set describing power system characteristics (generation, loads and grid topology) and rules to change these characteristics during capacity calculation created through the merging of relevant data
bendro tinklo modelis | įvairių PSO suderintas visos Sąjungos duomenų, kuriais apibūdinamos pagrindinės elektros energijos sistemos charakteristikos (gamyba, apkrovos ir tinklo topologija), rinkinys ir tų charakteristikų keitimo skaičiuojant pralaidumą taisyklės
connecting CDSO | closed distribution system operator (CDSO) to whose closed distribution network a power generating module, demand facility, or grid element is connected
connecting closed distribution system operator | closed distribution system operator (CDSO) to whose closed distribution network a power generating module, demand facility, or grid element is connected
prijungiantysis uždaro skirstomojo tinklo operatorius | uždaro skirstomojo tinklo operatorius, prie kurio uždaro tinklo yra prijungtas elektros energijos gamybos modulis, apkrovos įrenginys ar tinklo elementas
connecting DSO | distribution system operator to whose distribution network a power generating module, demand facility, or grid element is connected
connecting distribution system operator | distribution system operator to whose distribution network a power generating module, demand facility, or grid element is connected
prijungiantysis skirstomojo tinklo operatorius | skirstomojo tinklo operatorius, prie kurio tinklo yra prijungtas elektros energijos gamybos modulis, apkrovos įrenginys ar tinklo elementas
consumer surplus for the single day ahead or intraday coupling | sum of differences between the prices of accepted buying orders and the clearing price multiplied by the underlying energy of each accepted buying order for the relevant time period
kitos paros ar einamosios paros prekybos rinkų susiejimo vartotojo perviršis | apskaičiuota tam tikro laiko tarpo priimtinų kainų pasiūlymų ir nustatytos kainos skirtumų suma, padauginta iš kiekvieno pirkimo pasiūlymo energijos kiekio
consumption schedule | schedule representing the consumption of a demand facility or a group of demand facilities
vartojimo grafikas | vieno ar kelių vartotojų apkrovos grafikas
continuous trading matching algorithm | algorithm used in the continuous <I>intraday coupling</I> [ IATE:3552607 ] for <I>matching orders</I> [ IATE:3552628 ]
nepertraukiamos prekybos derinimo algoritmas | bendro einamosios paros prekybos rinkų susiejimo algoritmas, pagal kurį nepertraukiamai derinami pavedimai ir paskirstomas tarpzoninis pralaidumas
coordinated capacity calculator | role of calculating <I>cross zonal capacity</I> [ IATE:3548268 ], at least at a regional level and managing the validation process
koordinuoto pralaidumo skaičiuotojas | subjektas arba subjektai, kurių užduotis – skaičiuoti pralaidumą regiono ar aukštesniu lygmeniu
coordinated net transmission capacity approach | <I>capacity calculation</I> [ IATE:3553009 ] method based on the principle of assessing and defining ex-ante a maximum energy exchange between adjacent <I>bidding zones</I> [ IATE:3547925 ]
koordinuoto grynojo pralaidumo metodas | pralaidumo skaičiavimo metodas, grindžiamas didžiausių energijos mainų tarp gretimų prekybos zonų ex ante vertinimo ir nustatymo principu
critical network element flow margin | maximum additional flows allowed on <I>critical network elements</I> [ IATE:3547939 ] as a consequence of the changes in <I>net positions</I> [ IATE:3552632 ] resulting from <I>capacity allocation</I> [ IATE:2112865 ] in a <I>capacity calculation region</I> [ IATE:3552526 ]
esminio tinklo elemento galios srauto riba | didžiausias leidžiamas papildomas galios srautas esminiame tinklo elemente pasikeitus grynosioms pozicijoms dėl pralaidumų skaičiavimo regione
day ahead firmness deadline | point in time after which <I>cross zonal capacity</I> [ IATE:3548268 ] becomes firm
kitos paros pralaidumo garantijos terminas | momentas, po kurio pralaidumas tarp zonų tampa garantuotas
day ahead market gate closure time | point in time until which orders are accepted in the <I>day ahead market</I> [ IATE:3509102 ]
day ahead market gate closure | point in time until which orders are accepted in the <I>day ahead market</I> [ IATE:3509102 ]
kitos paros rinkos uždarymas | laiko momentas, iki kurio dienos prekybos biržoje yra priimami pasiūlymai
demand facility | facility which consumes electrical energy and is connected at one or more connection points to the <I>network</I> [ IATE:3555266 ]
apkrovos įrenginiai | vienoje ar keliose vietose prie tinklo prijungti elektros įrenginiai, naudojantys elektros energiją
demand unit | indivisible set of installations which can be actively controlled by a <I>demand facility</I> [ IATE:3552552 ] owner or <I>distribution network</I> [ IATE:1407784 ] operator to moderate its electrical energy demand
apkrovos blokas | nedalomas instaliuotos įrangos blokas, kurį pagal poreikį gali valdyti apkrovos įrangos valdytojas arba skirstomojo tinklo operatorius
economic surplus for the single day ahead or intraday coupling | sum of suppliers surplus for the single day ahead or <I>intraday coupling</I> [ IATE:3552607 ], consumers surplus for the single day ahead or intraday coupling, <I>congestion income</I> [ IATE:3552534 ] and other related costs and benefits where these increase economic efficiency for the relevant time period
kitos paros ar einamosios paros prekybos rinkų susiejimo ekonominis perviršis | tiekėjo kitos paros ar einamosios paros prekybos rinkų susiejimo perteklius, pajamos už perkrovas ir kitos pajamos ir išlaidos, didinančios ekonominį efektyvumą tam tikru laiko momentu
ENTSO-E operational planning data environment | set of application programs and equipment developed in order to allow the storage, the exchange and the management of the data used within operational planning processes between transmission system operators (TSOs)
ENTSO-E operacinė duomenų planavimo aplinka | programinės įrangos paketas duomenims, kuriuos PSO naudoja planuodamas veiksmus, kaupti, tvarkyti ir keistis
external commercial trade schedule | schedule representing the commercial exchange of electricity between market participants in different scheduling areas
išorinio komercinio sandorio tvarka | tvarka, numatanti komercinius rinkos dalyvių elektros energijos mainus skirtingose prekybos arba planavimo zonose
external TSO schedule | schedule representing the exchange of electricity of transmission system operators (TSO)s between different scheduling areas
PSO prekybos su išorinėmis sistemomis planas | tvarka, numatanti PSO elektros energijos mainus skirtingose planavimo zonose
generation shift key | method of translating a net position change of a given bidding zone into estimated specific injection increases or decreases in the common grid model
gamybos poslinkio koeficientas | metodas, pagal kurį tam tikros prekybos zonos grynosios pozicijos pakeitimas perskaičiuojamas į bendro tinklo modelyje numatomus padidinti arba sumažinti konkrečius tiekiamos energijos kiekius
grid element | element of an electricity transmission system
tinklo elementas | elektros perdavimo sistemos elementas
internal commercial trade schedule | schedule representing the commercial exchange of electricity within a scheduling area between different market participants or between nominated electricity market operators and market coupling operators
vidinio komercinio sandorio tvarka | tvarka, nusakanti komercinį rinkos dalyvių arba numatytųjų elektros rinkos operatorių ir elektros rinkos porų valdytojų operatorių elektros energijos mainus planuojamoje zonoje
intraday cross zonal gate closure time | point in time where <I>cross zonal capacity</I> [ IATE:3548268 ] <I>allocation</I> [ IATE:2112865 ] is no longer permitted for a given <I>market time unit</I> [ IATE:3547949 ]
tarpzoninės einamosios paros prekybos pabaiga | laiko momentas, kai tarpzoninių pralaidumų nustatymas nustatytam rinkos laiko vienetui yra sustabdytas
intraday cross zonal gate opening time | point in time where <I>cross zonal capacity</I> [ IATE:3548268 ] between <I>bidding zones</I> [ IATE:3547925 ] is released for a given <I>market time unit</I> [ IATE:3547949 ] and a given <I>bidding zone border</I> [ IATE:3552693 ]
tarpzoninės einamosios paros prekybos pradžia | laiko momentas, kai tarpzoniniai prekybos zonų pralaidumai yra pateikiami nustatytam rinkos laiko vienetui ir nustatytai prekybos zonos sienai
intraday energy gate closure time | point in time when energy trading for a <I>bidding zone</I> [ IATE:3547925 ] is no longer permitted for a given <I>market time unit</I> [ IATE:3547949 ] within the <I>intraday market</I> [ IATE:3552613 ]
einamosios paros prekybos elektros energija pabaiga | laiko momentas, kai prekyba elektros energija prekybos zonoje nebeleidžiama nustatytam rinkos laiko vienetui dienos prekybos rinkoje
intraday energy gate opening time | point in time when energy trading for a <I>bidding zone</I> [ IATE:3547925 ] is permitted for a given <I>market time unit</I> [ IATE:3547949 ]
einamosios paros prekybos elektros energija pradžia | laiko momentas, kai prekyba elektros energija prekybos zonoje nustatytam rinkos laiko vienetui yra leidžiama
market coupling operator function | role of matching orders for all bidding zones in the single day-ahead and intra-day coupling, taking into account allocation constraints and cross zonal capacityand thereby implicitly allocating capacity
market coupling operator | role of matching orders for all bidding zones in the single day-ahead and intra-day coupling, taking into account allocation constraints and cross zonal capacityand thereby implicitly allocating capacity
prekybos rinkų susiejimo operatoriaus funkcija | užduotis suderinti kitos paros ir einamosios paros rinkose pateiktus įvairių prekybos zonų pavedimus ir tuo pačiu metu paskirstyti tarpzoninį pralaidumą
prekybos RSO funkcija | užduotis suderinti kitos paros ir einamosios paros rinkose pateiktus įvairių prekybos zonų pavedimus ir tuo pačiu metu paskirstyti tarpzoninį pralaidumą
matching | trading mode through which sell orders are assigned to appropriate buy orders to ensure the maximization of economic surplus for the single day-ahead or intraday coupling
derinimas | prekybos režimas, kai pavedimams parduoti parenkami atitinkami pavedimai pirkti, taip siekiant užtikrinti kuo didesnį bendro kitos paros ar einamosios paros prekybos rinkų susiejimo ekonominį perviršį
net position | netted sum of electricity exports and imports for each market time unit for a bidding zone
grynoji pozicija | įskaityta elektros energijos eksporto ir importo suma prekybos zonoje kiekvieną rinkos laiko vienetą
netted area AC position | netted aggregation of all AC-external schedules of an area
grynoji kintamosios srovės rajono pozicija | tvarkaraščių suderinimas atsižvelgiant į visus išorinių kintamosios srovės šaltinių tvarkaraščius toje zonoje
nominated electricity market operator | market operator that has received the necessary regulatory approval to participate in the <I>single day-ahead</I> [ IATE:3552669 ] or <I>single intra-day coupling</I> [ IATE:3552670 ]
NEMO | market operator that has received the necessary regulatory approval to participate in the <I>single day-ahead</I> [ IATE:3552669 ] or <I>single intra-day coupling</I> [ IATE:3552670 ]
paskirtasis elektros energijos rinkos operatorius (PEERO) | subjektas, kurį kompetentinga institucija paskyrė atlikti su bendru kitos paros ar einamosios paros prekybos rinkų susiejimo mechanizmu susijusias užduotis
PEERO | subjektas, kurį kompetentinga institucija paskyrė atlikti su bendru kitos paros ar einamosios paros prekybos rinkų susiejimo mechanizmu susijusias užduotis
non-standard intraday product | product for continuous <I>intraday coupling</I> [ IATE:3552607 ] with specific characteristics designed to reflect system operation practices or market needs, examples may include but shall not be limited to, orders covering multiple <I>market time units</I> [ IATE:3547949 ] and products reflecting startup costs
nestandartinis einamosios paros prekybos produktas | nepertraukiamos einamosios paros prekybos rinkų susiejimo produktas, skirtas ne nuolatiniam energijos tiekimui užtikrinti arba ilgesniam nei vienas rinkos laiko vienetas laikotarpiui; šis produktas turi tam tikrų ypatybių, kurios atspindi sistemos veikimo ypatumus arba rinkos poreikius; tai gali būti, pvz., pavedimai, apimantys kelis rinkos laiko vienetus, arba produktai, rodantys gamybos vieneto veiklos pradžios sąnaudas
outage coordinating TSO | transmission system operator (TSO) to which a relevant asset is directly connected to its transmission system or connected via a transmission connected distribution network or a transmission connected closed distribution network
avarinį atjungimą koordinuojantis PSO | PSO, prie kurio perdavimo tinklo svarbus elementas yra prijungtas tiesiogiai, per skirstomąjį tinklą arba per uždarą skirstomąjį tinklą
outage coordination process | process of coordinating the availability plans of all relevant assets
avarinio atjungimo koordinavimo procesas | procesas, kurio metu avarinis atjungimas yra planuojamas, anallizuojamas ir rengiama jo ataskaita
outage coordination region | combination of responsibility areas in which procedures are defined to monitor and where necessary coordinate the availability status of relevant assets on all planning timescales
avarinio atjungimo koordinavimo rajonas | atsakomybės zonų, kuriose numatyta atlikti stebėjimo ir, kur reikia, svarbių elementų būklės valdymo veiksmus, visuma
outage incompatibility | state in which a combination of the availability status of one or more relevant grid elements, relevant power generating modules, and/or relevant demand facilities and the best estimate of the forecasted electricity grid situation leads to violation of operational security limits taking into account non costly remedial actions at the transmission system operator's (TSO) disposal
avarinio atjungimo nesuderinamumas | režimas, kai dėl vieno ar kelių atitinkamų tinklo elementų, atitinkamų elektros energijos gamybos modulių ir (arba) atitinkamų elektros energiją vartojančių įrenginių parengties būklės bei tiksliausios elektros tinklo situacijos prognozės derinio gali būti pažeistos eksploatacinio saugumo ribos, atsižvelgiant į su išlaidomis nesusijusius perdavimo sistemos operatoriaus (PSO) taisomuosius veiksmus
outage planning agent | role of planning the availability status of a relevant power generating module, a relevant demand facility or a relevant grid element
avarinio atjungimo planuotojas | asmuo, planuojantis atitinkamo elektros energijos generavimo modulio, atitinkamo elektros energiją vartojančio įrenginio ar atitinkamo tinklo elemento parengties būklę
power generating facility | facility to convert <I>primary energy</I> [ IATE:770633 ] to electrical energy which consists of one or more <I>power generating modules</I> [ IATE:3552642 ] connected to a <I>network</I> [ IATE:3555266 ] at one or more connection points
elektros energijos gamybos įrenginys | pirminės energijos keitimo į elektros energiją įrenginys, sudarytas iš vieno ar kelių elektros energijos gamybos modulių, prijungtų prie tinklo viename ar keliuose prijungimo taškuose
power generating module | <I>synchronous power generating module</I> or <I>power park module</I>
elektros energijos gamybos modulis | sinchroninis elektros energijos generavimo modulis arba elektros energijos generavimo parko modulis
price coupling algorithm | algorithm used in the <I>single day ahead coupling</I> [ IATE:3552669 ] for <I>matching</I> orders [ IATE:3552628 ]
kainų susiejimo algoritmas | bendro kitos paros prekybos rinkų susiejimo algoritmas, pagal kurį tuo pačiu metu derinami pavedimai ir paskirstomas tarpzoninis pralaidumas
relevant demand facility | demand facility which participates in the outage coordination process as its availability status influences cross-border operational security
atitinkama apkrovos įranga | tarpsisteminių ryšių veikimo patikimumui įtaką daranti apkrovos įranga, naudojama avarinio atjungimo koordinavimo proceso metu
relevant grid element | grid element located in a transmission system, in a distribution network, or in a closed distribution network which participates in the outage coordination process as its availability status influences cross-border operational security
atitinkamas tinklo elementas | avarinio atjungimo koordinavimo proceso metu naudojamas perdavimo, skirstomojo ar uždaro skirstomojo tinklo elementas, lemiantis tarpsisteminių ryšių veikimo patikimumą
remedial action with costs | <I>remedial action</I> [ IATE:3553065 ] with direct payments made to procure the service which may include but shall not be limited to <I>countertrading</I> [ IATE:3547943 ] and <I>redispatching</I> [ IATE:3547956 ]
costly remedial action | <I>remedial action</I> [ IATE:3553065 ] with direct payments made to procure the service which may include but shall not be limited to <I>countertrading</I> [ IATE:3547943 ] and <I>redispatching</I> [ IATE:3547956 ]
su išlaidomis susijęs taisomasis veiksmas | taisomasis veiksmas, įskaitant kompensacinę prekybą, apkrovų perskirstymą ir kitus veiksmus, atliekamas tiesiogiai mokant už perkamą paslaugą
remedial action without costs | <I>remedial action</I> [ IATE:3553065 ] without direct payments by a <I>transmission system operator</I> (TSO) [ IATE:2250949 ]
non-costly remedial action | <I>remedial action</I> [ IATE:3553065 ] without direct payments by a <I>transmission system operator</I> (TSO) [ IATE:2250949 ]
su išlaidomis nesusijęs taisomasis veiksmas | taisomasis veiksmas, kai perdavimo sistemos operatorius (PSO) neatlieka tiesioginių mokėjimų
schedule | reference set of values representing the generation, consumption or exchange of electricity between actors for a given time period
planas | nurodytų verčių visuma, rodanti generavimo, apkrovos ar rinkos dalyvių elektros energijos mainus tam tikru laiko momentu
scheduled exchange | transfer of electric power scheduled between geographic areas, for each market time unit and for a given direction
planiniai mainai | suplanuotas elektros energijos perdavimas tarp geografinių teritorijų atitinkama kryptimi kiekvieną rinkos laiko vienetą
shared order book | module in the continuous <I>intraday coupling</I> [ IATE:3552607 ] system collecting all matchable orders from the participating <I>nominated electricity market operators</I> (NEMOs) [ IATE:3552634 ] in the single intra-day coupling and performing continuous <I>matching</I> [ IATE:3552628 ] of those orders
bendra pavedimų knyga | nepertraukiamos einamosios paros prekybos rinkų susiejimo sistemos modulis, kuriame renkami ir nepertraukiamai derinami visi bendrame einamosios paros prekybos rinkų susiejimo mechanizme dalyvaujančių PEERO pateikti derintini pavedimai
shipping agent | role of transferring <I>net positions</I> [ IATE:3552632 ] between different <I>central counter parties</I> [ IATE:3552528 ]
ekspeditorius | subjektas arba subjektai, kurių užduotis – perkelti grynąsias pozicijas tarp skirtingų pagrindinių sandorio šalių
single day-ahead coupling | coordinated electricity price setting and cross-zonal <I>capacity allocation</I> [ IATE:2112865 ] mechanism performing simultaneously with matching orders, using orders of the <I>day-ahead markets</I> [ IATE:3509102 ] per <I>bidding zone</I> [ IATE:3547925 ] and respecting <I>cross zonal capacities</I> [ IATE:3548268 ] and <I>allocation constraints</I> [ IATE:3552512 ] between bidding zones
kitos paros prekybos rinkų susiejimas | aukciono procesas, kai kitos paros prekybos rinkoje derinami surinkti pavedimai ir tuo pačiu metu įvairioms prekybos zonoms paskirstomas tarpzoninis pralaidumas
single intra-day coupling | implicit cross-zonal <I>capacity allocation</I> [ IATE:2112865 ] mechanism which collects orders per <I>bidding zone</I> [ IATE:3547925 ] from wholesale market participants and matches them continuously into contracts to deliver electricity while respecting <I>cross zonal capacities</I> [ IATE:3548268 ] and <I>allocation constraints</I> [ IATE:3552512 ], available in the intra-day timeframe once the <I>day-ahead market</I> [ IATE:3509102 ] has taken place
bendras einamosios paros prekybos rinkų susiejimas | nepertraukiamas procesas, kai einamosios paros prekybos rinkoje derinami surinkti pavedimai ir tuo pačiu metu įvairioms prekybos zonoms paskirstomas tarpzoninis pralaidumas
standard intraday product | product for continuous <I>intraday coupling</I> [ IATE:3552607 ] for a constant energy delivery for a period not exceeding one hour
standartinis einamosios paros prekybos produktas | nepertraukiamos einamosios paros prekybos rinkų susiejimo produktas, skirtas nuolatiniam energijos tiekimui užtikrinti ir ne ilgesniam kaip valandos laikotarpiui
structural congestion | congestion in an electricity transmission system that can be unambiguously defined, is predictable, is geographically stable over time and is frequently reoccurring under common circumstances
struktūrinė perkrova | perdavimo sistemoje susidaranti perkrova, kurią galima vienareikšmiškai apibrėžti ir iš anksto numatyti, kurios geografinė padėtis kurį laiką nekinta ir kuri dažnai kartojasi įprastomis elektros energijos sistemos veikimo sąlygomis
supplier surplus for the single day ahead or intraday coupling | sum of differences between the clearing price and the prices of accepted selling orders multiplied by the underlying energy of each accepted selling order for the relevant time period
kitos paros ar einamosios paros prekybos rinkų susiejimo tiekėjo perviršis | suma, kurią sudaro galutinės kainos ir priimtų pavedimų parduoti skirtumai, padauginti iš kiekvieno priimto pavedimo parduoti bazinę energiją atitinkamu laikotarpiu
pu grid voltage | base quantity used in the per-unit system<sup>1</sup>, to express the various voltages in a system in terms of the nominal grid voltage<HR><sup>1</sup> per-unit system [ IATE:3553149 ]
tinklo įtampa santykiniais vienetais | bazinis dydis, naudojamas santykinių vienetų sistemoje įvairioms įtampos vertėms atsižvelgiant į vardinę tinklo įtampą išreikšti
active power frequency response | automatic response of <I>active power</I> output from a <I>power generating module</I>, in response to a change in <I>system frequency</I> from the <I>nominal system frequency</I>
aktyviosios galios dažninė charakteristika | automatinis elektros energijos gamybos modulio atiduodamos aktyviosios galios atsakas į sistemos dažnio nuokrypį nuo nominaliojo sistemos dažnio
black start capability | capacity of a power generating system to autonomously recover from a total or partial shutdown of the <I>transmission system</I> which has caused an extensive loss of supplies
paleidimo po visuotinės avarijos galimybė | elektros sistemos savybė savarankiškai atsikurti po visuotinės ar didelės avarijos, kuri įvyko dėl didelės galios apkrovos netekimo
block loading | maximum step <I>Active Power</I> [ IATE:1372761 ] loading of reconnected <I>demand</I> [ IATE:1691306 ] during system restoration after <I>black-out</I> [ IATE:1680181 ]
bloko apkrovimas | didžiausias galios padidinimo žingsnis sistemos atkūrimo metu po visuotinės avarijos apkraunant pakartotinai prijungtą apkrovą
compliance simulation | process to verify that <I>power generating modules</I><sup>1</sup> are compliant with the specifications and requirements of the EU <I>network code</I><sup>2</sup><HR><sup>1</sup> power generating module [ IATE:3552642 ]<br><sup>2</sup> network code [ IATE:2250529 ]
atitikties modeliavimas | procesas patikrinti, ar elektros energijos gamybos moduliai atitinka ES tinklų taisyklių specifikacijas ir reikalavimus
demand aggregation | set of <I>demand facilities</I> [ IATE:3552552 ] which can be operated as a single facility for the purposes of offering one or more <I>demand side response</I> [ IATE:2223811 ] services
sutelktoji apkrova | apkrovų grupė, kurią galima valdyti kaip vieną apkrovą ir naudoti kaip apkrovos atsaką
demand side response active power control | demand within a <I>demand facility</I> [ IATE:3552552 ] or <I>closed distribution network</I> [ IATE:3552910 ] that is accessible for modulation by the relevant network operator, which results in an <I>active power</I> [ IATE:1372761 ] modification
DSR APC | demand within a <I>demand facility</I> [ IATE:3552552 ] or <I>closed distribution network</I> [ IATE:3552910 ] that is accessible for modulation by the relevant network operator, which results in an <I>active power</I> [ IATE:1372761 ] modification
aktyvios galios valdymas keičiant apkrovą | apkrovų grupės arba uždaro skirstomojo tinklo apkrova, kurios galią gali keisti ir taip aktyviąją galią veikti vietinio skirstomojo tinklo operatorius
demand side response low frequency demand disconnection | demand within a <I>demand facility</I> [ IATE:3552552 ] or <I>closed distribution network</I> [ IATE:3552910 ] that can be disconnected in case of low frequency
DSR LFDD | demand within a <I>demand facility</I> [ IATE:3552552 ] or <I>closed distribution network</I> [ IATE:3552910 ] that can be disconnected in case of low frequency
apkrovos atjungimas sumažėjus dažniui | apkrovų grupės arba uždaro skirstomojo tinklo apkrova, kuri sumažėjus dažniui gali būti atjungta
demand side response low voltage demand disconnection | demand within a <I>demand facility</I> [ IATE:3552552 ] or <I>closed distribution network</I> [ IATE:3552910 ] that can be disconnected in case of low voltage
DSR LVDD | demand within a <I>demand facility</I> [ IATE:3552552 ] or <I>closed distribution network</I> [ IATE:3552910 ] that can be disconnected in case of low voltage
apkrovos atjungimas sumažėjus įtampai | apkrovų grupės arba uždaro skirstomojo tinklo apkrova, kuri dėl žemos įtampos gali būti atjungta
demand side response reactive power control | reactive power [ IATE:1372762 ] or <I>reactive power devices</I> [ IATE:3552765 ] in a <I>demand facility</I> [ IATE:3552552 ] or <I>closed distribution network</I> [ IATE:3552910 ] that are accessible for modulation by the relevant network operator
DSR RPC | reactive power [ IATE:1372762 ] or <I>reactive power devices</I> [ IATE:3552765 ] in a <I>demand facility</I> [ IATE:3552552 ] or <I>closed distribution network</I> [ IATE:3552910 ] that are accessible for modulation by the relevant network operator
apkrovos reaktyviosios galios valdymas | reaktyviosios galios valdymas reaktyviosios galios įrangos reaktyviosios galios įrenginiais, kurių galią gali reguliuoti vietinis STO, ir reaktyviosios galios tinklo reaktyviąja galia, kurią gali keisti STO
demand side response system frequency control | reduction or increase of the demand of electrical devices in response to frequency fluctuations, made by an autonomous response to temperature targets of these electrical devices to diminish these fluctuations
DSR SFC | reduction or increase of the demand of electrical devices in response to frequency fluctuations, made by an autonomous response to temperature targets of these electrical devices to diminish these fluctuations
sistemos dažnio reguliavimas valdant apkrovą | dažnio svyravimų sukeltas apkrovos įrenginių galios padidėjimas ar sumažėjimas, įvykęs dėl apkrovos įrenginių autonominio atsako siekiant išlaikyti reikiamas temperatūros reikšmes įrenginiuose
demand side response transmission constraint management | <I>demand</I> [ IATE:1691306 ] that is accessible for modulation by the relevant network operator to manage <I>transmission constraints</I> [ IATE:3552952 ] within the network
DSR TCM | <I>demand</I> [ IATE:1691306 ] that is accessible for modulation by the relevant network operator to manage <I>transmission constraints</I> [ IATE:3552952 ] within the network
apkrovos atsako perdavimo valdymas | apkrova, kuria atitinkamo tinklo operatorius gali valdyti tinklo apkrovimą
demand side response very fast active power control | <I>demand</I> [ IATE:1691306 ] within a <I>demand facility</I> [ IATE:3552552 ] or <I>closed distribution network</I> that can be modulated very fast, i.e. within 2 seconds, in response to a frequency deviation, which results in a very fast <I>active power</I> [ IATE:1372761 ] modification
DSR VFAPC | <I>demand</I> [ IATE:1691306 ] within a <I>demand facility</I> [ IATE:3552552 ] or <I>closed distribution network</I> that can be modulated very fast, i.e. within 2 seconds, in response to a frequency deviation, which results in a very fast <I>active power</I> [ IATE:1372761 ] modification
greitas apkrovos valdymas aktyviąja galia | apkrovos įrenginių ar uždaro skirstomojo tinklo apkrova, kuri gali būti labai greitai (per 2 sekundžių laikotarpį) moduliuojama pagal dažnio nuokrypį, siekiant labai greitai pakeisti aktyviąją galią
deadband | range of values within which the input in a control system can be varied without initiating an observable response
neutral zone | range of values within which the input in a control system can be varied without initiating an observable response
dead band | range of values within which the input in a control system can be varied without initiating an observable response
dead zone | range of values within which the input in a control system can be varied without initiating an observable response
nejautrumo sritis | skaitinių verčių, kurios įvestos į valdymo sistemą nesukelia pastebimo atsako, intervalas
frequency response insensitivity | minimum magnitude of the frequency (input signal) which results in a change of output power (output signal) in a control system
dažnio nejautra | minimali dažnio įėjimo signalo vertė, kuri sukelia išėjimo signalo pokytį valdymo sistemoje
house load operation | operation mode of a power generating unit that only supplies the needs of its auxiliary systems after having been disconnected from the network
savųjų reikmių režimas | generavimo agregato veikimo režimas, kai po atjungimo nuo elektros tinklo agregatas galią tiekia tik savo pagalbinėms sistemoms
island operation | independent operation of whole or part of a <I>network</I> that is isolated after its disconnection from the <I>interconnected system</I>
izoliuotas veikimas | savarankiškas tinklo ar jo dalies veikimas po atjungimo nuo didelės elektros sistemos
limited frequency sensitive mode – overfrequency | <I>power generating module</I> operating mode which will result in <I>active power</I> output reduction in response to a change in <I>system frequency</I> above a certain value
LFSM-O | <I>power generating module</I> operating mode which will result in <I>active power</I> output reduction in response to a change in <I>system frequency</I> above a certain value
padidėjusio dažnio darbo režimas | elektros energijos gamybos modulio darbo režimas, kai dažnio vertei viršijus nustatytą ribą atiduodama aktyvioji galia yra mažinama
limited frequency sensitive mode – underfrequency | <I>power generating module</I> operating mode which will result in <I>active power</I> output increase in response to a change in <I>system frequency</I> below a certain value
LFSM-U | <I>power generating module</I> operating mode which will result in <I>active power</I> output increase in response to a change in <I>system frequency</I> below a certain value
sumažėjusio dažnio darbo režimas | elektros energijos gamybos modulio darbo režimas, kai dažnio vertei nukritus žemiau nei nustatyta riba atiduodama aktyvioji galia yra didinama
low frequency demand disconnection | action where <I>demand</I> [ IATE:1691306 ] is disconnected during a low frequency event in order to recover the balance between demand and generation to restore <I>system frequency</I> [ IATE:1447971 ] to acceptable limits
LFDD | action where <I>demand</I> [ IATE:1691306 ] is disconnected during a low frequency event in order to recover the balance between demand and generation to restore <I>system frequency</I> [ IATE:1447971 ] to acceptable limits
apkrovos atjungimas sumažėjus dažniui | veiksmas, kai sumažėjus dažniui apkrova yra atjungiama siekiant atkurti apkrovos ir generavimo balansą ir grąžinti dažnį į priimtinas ribas
low voltage demand disconnection | restoration action where <I>demand</I> [ IATE:1691306 ] is disconnected during a low voltage event in order to recover voltage to a sustainable level within acceptable limits
LVDD | restoration action where <I>demand</I> [ IATE:1691306 ] is disconnected during a low voltage event in order to recover voltage to a sustainable level within acceptable limits
vartotojų atjungimas sumažėjus įtampai | įtampos atkūrimo priemonė – apkrovos atjungimas siekiant atkurti reikiamas sumažėjusios įtampos ribas
minimum regulating level | minimum <I>active power</I> [ IATE:1372761 ] that a <I>power generating module</I> [ IATE:3552642 ] can regulate down to and can provide active power control
minimalus reguliavimo lygis | minimali aktyviosios galios vertė, kuriai esant generavimo agregatas gali sumažinti savo galią ir užtikrinti aktyviosios galios kontrolę
minimum stable operating level | minimum <I>active power</I> [ IATE:1372761 ] at which the <I>power generating module</I> [ IATE:3552642 ] can be operated stably for unlimited time
minimalus stabilaus darbo lygis | mažiausia aktyvioji galia, kuriai esant galios generavimo modulis gali stabiliai veikti neribotą laiko tarpą
offshore grid connection system | complete interconnection between the offshore <I>connection point</I> and the connection to the <I>interconnected onshore system</I> at the <I>onshore grid interconnection point</I>
jūros tinklo prijungimo sistema | prijungimo taško jūroje prijungimas prie tinklo sausumoje
onshore grid interconnection point | point at which the <I>offshore grid connection system</I> is connected to the onshore <I>network</I> of the relevant network operator
prisijungimo prie sausumos tinklo taškas | taškas, kuriame jūrinis elektros tinklas prijungiamas prie tam tikro tinklo operatoriaus valdomo sausumos tinklo
overexcitation limiter | control device within an <I>automatic voltage regulator</I> which prevents the rotor of an <I>alternator</I> from overload by limiting the <I>excitation current</I>
OEL | control device within an <I>automatic voltage regulator</I> which prevents the rotor of an <I>alternator</I> from overload by limiting the <I>excitation current</I>
maksimalaus žadinimo ribotuvas | automatinio įtampos reguliatoriaus įtaisas, skirtas apsaugoti kintamosios srovės generatorių nuo perkrovos, ribojant žadinimo srovę
power park module | unit or ensemble of units generating electricity, which is connected to the <I>network</I> non-synchronously or through <I>power electronics</I> and has a single connection point to a <I>transmission network</I>, <I>distribution network</I> or <I>closed distribution network</I>
PPM | unit or ensemble of units generating electricity, which is connected to the <I>network</I> non-synchronously or through <I>power electronics</I> and has a single connection point to a <I>transmission network</I>, <I>distribution network</I> or <I>closed distribution network</I>
elektrinių parko modulis | vienas ar keli elektros energijos gamybos agregatai, kurie asinchroniškai ar per galios elektronikos įrenginius prijungti viename prijungimo taške prie perdavimo, skirstomojo ar uždaro skirstomojo tinklo
power system stabilizer | additional functionality of the automatic voltage regulator of a <I>synchronous power generating module</I> with the purpose of damping power oscillations
PSS | additional functionality of the automatic voltage regulator of a <I>synchronous power generating module</I> with the purpose of damping power oscillations
elektros sistemos stabilizatorius | papildoma sinchroninio elektros energijos gamybos modulio automatinio įtampos reguliatoriaus funkcija elektrinės galios svyravimams slopinti
P-Q capability diagram | graphical representation of the <I>reactive power</I><sup>1</sup> capability of a <I>power generating module</I><sup>2</sup> as a function of the <I>active power</I><sup>3</sup> at the <I>connection point</I><sup>4</sup><HR><sup>1</sup> <I>reactive power</I> [ IATE:1372762 ]<BR><sup>2</sup> <I>power generating module</I> [ IATE:3552642 ] <BR> <sup>3</sup><I> active power</I> [ IATE:1372761 ]<BR><sup>4</sup> <I>connection point</I> [ IATE:3555635 ]
P-Q diagrama | elektros energijos gamybos modulio reaktyvioji galia, grafiškai pavaizduota kaip aktyviosios galios funkcija
aktyviosios ir reaktyvios galių diagrama | elektros energijos gamybos modulio reaktyvioji galia, grafiškai pavaizduota kaip aktyviosios galios funkcija
reactive power device | sdfgsdgfsdfgsdfgsdgfsgdfgsdfg
reaktyviosios galios įrenginys | reaktyviąją galią vartojantis arba generuojantis elektros įrenginys
secured fault | <I>fault</I> which is successfully cleared by <I>power system protection</I> according to the network operator’s planning criteria
pašalinta pažaida | pagal tinklo operatoriaus instrukcijas elektros sistemos apsaugos sistemos sėkmingai pašalintas trikdis
slope | ratio of the change in voltage, based on nominal voltage<sup>1</sup>, to a change in reactive power<sup>2</sup> feed-in from zero to maximum reactive power, based on maximum reactive power<HR> <sup>1</sup> nominal voltage [ IATE:1376354 ]<BR><sup>2</sup> reactive power [ IATE:1372762 ]<br>See also:<LI> reactive power voltage control [ IATE:1365539 ]
statumas | įtampos pokyčio santykis su reaktyviosios galios pokyčiu
synchronous area | area covered by interconnected transmission system operators with a common <I>system frequency</I> in a <I>steady state</I>
sinchroninė zona | geografinė sritis, susidedanti iš atskirų PSO valdomų zonų, normaliu režimu veikiančių tuo pačiu dažniu
synchronous compensation operation | operation of an <I>alternator</I> without prime mover to regulate voltage dynamically by production or absorption of <I>reactive power</I>
sinchroninio kompensatoriaus režimas | kintamosios srovės generatoriaus be pirminio variklio darbas įtampai sureguliuoti, kai gaminama arba vartojama reaktyvioji galia
synthetic inertia | effect of inertia of a synchronous power generator replicated in a non-synchronous generator
virtual inertia | effect of inertia of a synchronous power generator replicated in a non-synchronous generator
emulated inertia | effect of inertia of a synchronous power generator replicated in a non-synchronous generator
dirbtinė inercija | sinchroninio generatoriaus inercijos efektas, atkartotas nesinchroniame generatoriuje
underexcitation limiter | control device within an automatic voltage regulator intended to prevent an <I>alternator</I> from losing synchronism due to lack of excitation
UEL | control device within an automatic voltage regulator intended to prevent an <I>alternator</I> from losing synchronism due to lack of excitation
minimalaus žadinimo ribotuvas | automatinio įtampos reguliatoriaus įtaisas kintamosios srovės generatoriui apsaugoti nuo asinchroninės eigos, atsiradusios dėl nepakankamo žadinimo
U-Q/Pmax-profile | representation of the reactive power<sup>1</sup> capability of a power generating module as a function of the voltage at the connection point<HR><sup>1</sup> reactive power [ IATE:1372762 ]<br>See also reactive power voltage control [ IATE:1365539 ]
U-Q/Pmax-diagram | representation of the reactive power<sup>1</sup> capability of a power generating module as a function of the voltage at the connection point<HR><sup>1</sup> reactive power [ IATE:1372762 ]<br>See also reactive power voltage control [ IATE:1365539 ]
U-Q/Pmax diagrama | elektros energijos gamybos modulio reaktyviosios galios gebos priklausomybė nuo įtampos prijungimo taške
closed distribution system | system which distributes electricity within a geographically confined industrial, commercial or shared services site and does not supply household customers
closed distribution network | system which distributes electricity within a geographically confined industrial, commercial or shared services site and does not supply household customers
uždaroji skirstymo sistema | sistema, kuria elektros energija skirstoma geografiškai ribotoje pramoninėje, komercinėje ar bendrų paslaugų vietovėje ir neteikiama namų ūkio vartotojams
uždaras skirtomasis tinklas | sistema, kuria elektros energija skirstoma geografiškai ribotoje pramoninėje, komercinėje ar bendrų paslaugų vietovėje ir neteikiama namų ūkio vartotojams
transmission constraint | situation in which there is a need to implement remedial action on the <I>transmission network</I> [ IATE:1407047 ] in order to respect the limits that guarantee the secure and reliable operation of the transmission system
perdavimo apribojimas | atvejis, kai reikia naudoti taisomąjį veiksmą siekiant išlaikyti saugų elektros sistemos veikimą
capacity calculation process | process in which the capability of an electricity transmission system to accommodate market transactions is assessed
capacity calculation | process in which the capability of an electricity transmission system to accommodate market transactions is assessed
pajėgumų apskaičiavimas | veiksmas, kai įvertinami elektros perdavimo tinklo pajėgumai vykdyti biržos sandorius
synchronous power generating module | indivisible set of installations which can generate electrical energy
sinchroninis elektros energijos gamybos modulis | nedalus įrenginių rinkinys, galintis gaminti elektros energiją
topology | structure and layout of the different transmission system or distribution network elements in an electricity network or part thereof and the connections between them
topologija | skirtingų perdavimo arba skirstomųjų tinklų elementų struktūra arba išsidėstymas elektros tinkle ar jo dalyje ir jų jungtys
order | intention to purchase or sell energy and/or capacity expressed by a market participant subject to a certain number of execution conditions
pavedimas | rinkos dalyvio išreikštas ketinimas pirkti ar parduoti pralaidumą arba energiją, kuriam taikomos tam tikros įvykdymo sąlygos
remedial action | measure activated by one or several system operators, manually or automatically, that relieves or contributes to relieving physical congestion
taisomasis veiksmas | fizinio linijų perkrovimo mažinimo priemonė, kurios automatiškai ar rankiniu būdu imasi vienas ar keli sistemos operatoriai
system reserve | <I>active</I> [ IATE:1372761 ] or <I>reactive power</I> [ IATE:1372762 ] reserves to actively manage the <I>network</I> [ IATE:3555266 ], predominantly to respond to frequency and voltage fluctuations
sistemos rezervas | aktyviosios ar reaktyviosios galios rezervas, skirtas elektros tinklui aktyviai valdyti ir atsakui į įtampos ir galios svyravimus formuoti
per-unit system | system used in electrical engineering to express values of voltages, currents, powers and impedances in a power system in terms of a defined base quantity
santykinių vienetų sistema | verčių skaičiavimo sistema elektros inžinerijoje įtampų, srovių, galių ir varžų reikšmėms pagal pasirinktą bazinę reikšmę išreikšti
relevant asset | any relevant demand facility, relevant power generating module, relevant non-TSO owned interconnector or relevant grid element participating in the outage coordination process
atitinkamas turtas | bet kuris elektros energiją vartojantis įrenginys, elektros energijos gamybos modulis, ne PSO valdoma jungiamoji linija arba tinklo elementas, naudojamas avariniam atjungimui koordinuoti
responsibility area | coherent part of the interconnected transmission system including interconnectors, operated by a single TSO with connected demand facilities, or power generating modules, if any
atsakomybės zona | neatskiriama jungtinės perdavimo sistemos dalis, įskaitant jungiamąsias linijas, kurią valdo vienas PSO; jai priklauso ir sujungti elektros energiją vartojantys įrenginiai arba elektros energijos gamybos moduliai, jei tokių yra
nominal system frequency | rated value of the <I>system frequency</I> [ IATE:1447971 ] in a power system
nominalusis elektros sistemos dažnis | elektros sistemoje naudojamas sinusinės įtampos dažnis iš standartinių verčių skalės
network | plants and apparatus connected together in order to transmit or distribute electrical power
tinklas | elektros įrenginių, kuriais perduodama ir paskirstoma elektros energija, visuma
interconnected system | a number of transmission and distribution systems linked together by means of one or more interconnectors
jungtinė sistema | kelios elektros energijos perdavimo ir skirstymo sistemos, sujungtos viena ar daugiau jungiamųjų linijų
fault | all types of short-circuits in a power system (single-, double- and triple-phase, with and without earth contact) as well as a broken conductor, interrupted circuit, or an intermittent connection, resulting in a permanent non-availability of the affected transmission system element
pažaida | įrenginio defektas, pavyzdžiui, laidininko trūkis, elektros grandinės trumpasis jungimas, įžemėjimas
connection point | interface at which the <i>power generating module</i><sup>1</sup> is connected to a <i>transmission system</i><sup>2</sup>, <i>distribution network</i><sup>3</sup> or <i>closed distribution system</i><sup>4</sup><HR><sup>1</sup> power generating module [IATE:3552642 ] <BR><sup>2</sup> transmission system [ IATE:1407047 ] <BR><sup>3</sup> distribution network [ IATE:1407784 ] <BR><sup>4</sup> closed distribution system [ IATE:3552910 ]
prijungimo prie elektros tinklo taškas | elektros tinkluose tiksliai nurodytas taškas, kuriame elektros tinklų naudotojo įrenginiai prijungiami prie elektros energijos perdavimo sistemos ir (ar) elektros energijos skirstomųjų tinklų
prijungimo taškas | elektros tinkluose tiksliai nurodytas taškas, kuriame elektros tinklų naudotojo įrenginiai prijungiami prie elektros energijos perdavimo sistemos ir (ar) elektros energijos skirstomųjų tinklų
scheduling area | bidding zone except if there is more than one responsibility area within this bidding zone
planavimo rajonas | prekybos zona, išskyrus tuos atvejus, kai zonoje yra daugiau nei vienas atsakomybės rajonas